| Colour | Product Code | Pack Size | Box Qty |
| --- | --- | --- | --- |
| Silver Finish | 90705 | 5Ltr | 4 |
|  | 90725 | 25Ltr | 1 |

Product Description

BLACK JACK SOLAR REFLECTIVE PAINT is a thin bituminous-based aluminium protective paint of brushing consistency which dries to a silvery finish.

Benefits

- Fast drying - 1 hour at normal temperatures.

- Prolongs life of roof repairs and bituminous coatings, which would otherwise be degraded by UV light.

Areas For Use

As a light/heat reflective coating over:

- Primed metals.

- Bituminous coatings (to prolong their life).

Limitations

- Do not use in areas where subsequent solvent contact is likely.

- Avoid inhalation of vapours in confined spaces.

- Allow sufficient drying time between coats.

- Do not apply directly to expanded polystyrene.

Surface Preparation

All surfaces must be clean, dry and free from dust, dirt, oil, grease and loose material.

Application

BLACK JACK SOLAR REFLECTIVE PAINT must be stirred prior to use and periodically during application.

Apply two coats by brush or mohair roller, the second coat being applied as soon as the first coat is dry (1-2 hours).

Over recently applied bituminous coatings, allow the following minimum period to elapse after the final coat has dried before applying this product:

Hot applied products;	6 hours

Solvent based coatings:	3 days

Water based coatings:	2 weeks.

Over bituminous surfaces, apply the thinnest first coat necessary to obliterate the black colour of the bitumen. The second coat should also be thin. Avoid ponding. When brushing, use soft bristle brushes applying the lightest pressure.

CLEANING TOOLS

Tools may be cleaned by using white spirit.  Spillage’s should be wiped off surfaces before the bitumen paint has set.

Specific Data

| Type Of Solvent | Petroleum hydrocarbons |
| --- | --- |
| Flashpoint | 40°C |
| Specific Gravity @ 20°C | 1.00 |
| Coverage | 4 – 6m² per litre depending on porosity of substrate. 11m² per litre on non porous surfaces |
| Drying Time | 1 hour depending on drying conditions |
| Service Temps | -30 to +90°C |
| Application Temps | 6 to 55°C. Surfaces must be free from ice and water |
| Fire Resistance | Wet: Flammable Dry: Will burn slowly |
| Chemical And Water Resistance | Resistant to: most salt solutions, water Not resistant to: oils, solvents, acids and alkalis |

Health & Safety

Consult MSDS for full list of hazards.

Storage

BLACK JACK SOLAR REFLECTIVE PAINT contains a flammable solvent, and all normal precautions against fire must be taken during both storage and use.  Store in original container in cool dry conditions.  Keep away from sources of ignition.

Shelf Life

Storage life 24 months in tightly sealed, undamaged  containers.

The technical data contained herein is based on our present knowledge and experience and we cannot be held liable for any errors, inaccuracies, omissions or editorial failings that result from technological changes or research between the date of issue of this document and the date the product is acquired. Before using the product, the user should carry out any necessary tests in order to ensure that the product is suitable for the intended application. Moreover, all users should contact the seller or the manufacturer of the product for additional technical information concerning its use if they think that the information in their possession needs to be clarified in any way, whether for normal use or a specific application of our product. Our guarantee applies within the context of the statutory regulations and provisions in force, current professional standards and in accordance with the stipulations set out in our general sales conditions. The information detailed in the present technical data sheet is given by way of indication and is not exhaustive. The same applies to any information provided verbally by telephone to any prospective or existing customer.

# Text boxes

907 SOLAR REFLECTIVE PAINT